## Sheet 1
MOSBUS TPC LIST MODULAR I2C
ADDRESS (DECIMAL) | KETERANGAN
MODULAR ANALOG IO
1 | modular_analog_io_1_pin_1
2 | modular_analog_io_1_pin_2
3 | modular_analog_io_1_pin_3
4 | modular_analog_io_1_pin_4
5 | modular_analog_io_1_pin_5
6 | modular_analog_io_1_pin_6
7 | modular_analog_io_1_pin_7
8 | modular_analog_io_1_pin_8
9 | modular_analog_io_2_pin_1
10 | modular_analog_io_2_pin_2
11 | modular_analog_io_2_pin_3
12 | modular_analog_io_2_pin_4
13 | modular_analog_io_2_pin_5
14 | modular_analog_io_2_pin_6
15 | modular_analog_io_2_pin_7
16 | modular_analog_io_2_pin_8
MODULAR DRYCONTACT
17 | modular_drycontact_1_pin_1
18 | modular_drycontact_1_pin_2
19 | modular_drycontact_1_pin_3
20 | modular_drycontact_1_pin_4
21 | modular_drycontact_1_pin_5
22 | modular_drycontact_1_pin_6
23 | modular_drycontact_1_pin_7
24 | modular_drycontact_1_pin_8
25 | modular_drycontact_2_pin_1
26 | modular_drycontact_2_pin_2
27 | modular_drycontact_2_pin_3
28 | modular_drycontact_2_pin_4
29 | modular_drycontact_2_pin_5
30 | modular_drycontact_2_pin_6
31 | modular_drycontact_2_pin_7
32 | modular_drycontact_2_pin_8
33 | modular_drycontact_3_pin_1
34 | modular_drycontact_3_pin_2
35 | modular_drycontact_3_pin_3
36 | modular_drycontact_3_pin_4
37 | modular_drycontact_3_pin_5
38 | modular_drycontact_3_pin_6
39 | modular_drycontact_3_pin_7
40 | modular_drycontact_3_pin_8
41 | modular_drycontact_4_pin_1
42 | modular_drycontact_4_pin_2
43 | modular_drycontact_4_pin_3
44 | modular_drycontact_4_pin_4
45 | modular_drycontact_4_pin_5
46 | modular_drycontact_4_pin_6
47 | modular_drycontact_4_pin_7
48 | modular_drycontact_4_pin_8
49 | modular_drycontact_5_pin_1
50 | modular_drycontact_5_pin_2
51 | modular_drycontact_5_pin_3
52 | modular_drycontact_5_pin_4
53 | modular_drycontact_5_pin_5
54 | modular_drycontact_5_pin_6
55 | modular_drycontact_5_pin_7
56 | modular_drycontact_5_pin_8
57 | modular_drycontact_6_pin_1
58 | modular_drycontact_6_pin_2
59 | modular_drycontact_6_pin_3
60 | modular_drycontact_6_pin_4
61 | modular_drycontact_6_pin_5
62 | modular_drycontact_6_pin_6
63 | modular_drycontact_6_pin_7
64 | modular_drycontact_6_pin_8
65 | modular_drycontact_7_pin_1
66 | modular_drycontact_7_pin_2
67 | modular_drycontact_7_pin_3
68 | modular_drycontact_7_pin_4
69 | modular_drycontact_7_pin_5
70 | modular_drycontact_7_pin_6
71 | modular_drycontact_7_pin_7
72 | modular_drycontact_7_pin_8
73 | modular_drycontact_8_pin_1
74 | modular_drycontact_8_pin_2
75 | modular_drycontact_8_pin_3
76 | modular_drycontact_8_pin_4
77 | modular_drycontact_8_pin_5
78 | modular_drycontact_8_pin_6
79 | modular_drycontact_8_pin_7
80 | modular_drycontact_8_pin_8
MODULAR GPIO
81 | modular_gpio_1_pin_1
82 | modular_gpio_1_pin_2
83 | modular_gpio_1_pin_3
84 | modular_gpio_1_pin_4
85 | modular_gpio_1_pin_5
86 | modular_gpio_1_pin_6
87 | modular_gpio_1_pin_7
88 | modular_gpio_1_pin_8
89 | modular_gpio_2_pin_1
90 | modular_gpio_2_pin_2
91 | modular_gpio_2_pin_3
92 | modular_gpio_2_pin_4
93 | modular_gpio_2_pin_5
94 | modular_gpio_2_pin_6
95 | modular_gpio_2_pin_7
96 | modular_gpio_2_pin_8
97 | modular_gpio_3_pin_1
98 | modular_gpio_3_pin_2
99 | modular_gpio_3_pin_3
100 | modular_gpio_3_pin_4
101 | modular_gpio_3_pin_5
102 | modular_gpio_3_pin_6
103 | modular_gpio_3_pin_7
104 | modular_gpio_3_pin_8
105 | modular_gpio_4_pin_1
106 | modular_gpio_4_pin_2
107 | modular_gpio_4_pin_3
108 | modular_gpio_4_pin_4
109 | modular_gpio_4_pin_5
110 | modular_gpio_4_pin_6
111 | modular_gpio_4_pin_7
112 | modular_gpio_4_pin_8
113 | modular_gpio_5_pin_1
114 | modular_gpio_5_pin_2
115 | modular_gpio_5_pin_3
116 | modular_gpio_5_pin_4
117 | modular_gpio_5_pin_5
118 | modular_gpio_5_pin_6
119 | modular_gpio_5_pin_7
120 | modular_gpio_5_pin_8
121 | modular_gpio_6_pin_1
122 | modular_gpio_6_pin_2
123 | modular_gpio_6_pin_3
124 | modular_gpio_6_pin_4
125 | modular_gpio_6_pin_5
126 | modular_gpio_6_pin_6
127 | modular_gpio_6_pin_7
128 | modular_gpio_6_pin_8
129 | modular_gpio_7_pin_1
130 | modular_gpio_7_pin_2
131 | modular_gpio_7_pin_3
132 | modular_gpio_7_pin_4
133 | modular_gpio_7_pin_5
134 | modular_gpio_7_pin_6
135 | modular_gpio_7_pin_7
136 | modular_gpio_7_pin_8
137 | modular_gpio_8_pin_1
138 | modular_gpio_8_pin_2
139 | modular_gpio_8_pin_3
140 | modular_gpio_8_pin_4
141 | modular_gpio_8_pin_5
142 | modular_gpio_8_pin_6
143 | modular_gpio_8_pin_7
144 | modular_gpio_8_pin_8
MODULAR OPTOCOUPLER
145 | modular_optocoupler_1_pin_1
146 | modular_optocoupler_1_pin_2
147 | modular_optocoupler_1_pin_3
148 | modular_optocoupler_1_pin_4
149 | modular_optocoupler_1_pin_5
150 | modular_optocoupler_1_pin_6
151 | modular_optocoupler_1_pin_7
152 | modular_optocoupler_1_pin_8
153 | modular_optocoupler_2_pin_1
154 | modular_optocoupler_2_pin_2
155 | modular_optocoupler_2_pin_3
156 | modular_optocoupler_2_pin_4
157 | modular_optocoupler_2_pin_5
158 | modular_optocoupler_2_pin_6
159 | modular_optocoupler_2_pin_7
160 | modular_optocoupler_2_pin_8
161 | modular_optocoupler_3_pin_1
162 | modular_optocoupler_3_pin_2
163 | modular_optocoupler_3_pin_3
164 | modular_optocoupler_3_pin_4
165 | modular_optocoupler_3_pin_5
166 | modular_optocoupler_3_pin_6
167 | modular_optocoupler_3_pin_7
168 | modular_optocoupler_3_pin_8
169 | modular_optocoupler_4_pin_1
170 | modular_optocoupler_4_pin_2
171 | modular_optocoupler_4_pin_3
172 | modular_optocoupler_4_pin_4
173 | modular_optocoupler_4_pin_5
174 | modular_optocoupler_4_pin_6
175 | modular_optocoupler_4_pin_7
176 | modular_optocoupler_4_pin_8
177 | modular_optocoupler_5_pin_1
178 | modular_optocoupler_5_pin_2
179 | modular_optocoupler_5_pin_3
180 | modular_optocoupler_5_pin_4
181 | modular_optocoupler_5_pin_5
182 | modular_optocoupler_5_pin_6
183 | modular_optocoupler_5_pin_7
184 | modular_optocoupler_5_pin_8
185 | modular_optocoupler_6_pin_1
186 | modular_optocoupler_6_pin_2
187 | modular_optocoupler_6_pin_3
188 | modular_optocoupler_6_pin_4
189 | modular_optocoupler_6_pin_5
190 | modular_optocoupler_6_pin_6
191 | modular_optocoupler_6_pin_7
192 | modular_optocoupler_6_pin_8
193 | modular_optocoupler_7_pin_1
194 | modular_optocoupler_7_pin_2
195 | modular_optocoupler_7_pin_3
196 | modular_optocoupler_7_pin_4
197 | modular_optocoupler_7_pin_5
198 | modular_optocoupler_7_pin_6
199 | modular_optocoupler_7_pin_7
200 | modular_optocoupler_7_pin_8
201 | modular_optocoupler_8_pin_1
202 | modular_optocoupler_8_pin_2
203 | modular_optocoupler_8_pin_3
204 | modular_optocoupler_8_pin_4
205 | modular_optocoupler_8_pin_5
206 | modular_optocoupler_8_pin_6
207 | modular_optocoupler_8_pin_7
208 | modular_optocoupler_8_pin_8
MODULAR RELAY
209 | modular_relay_1_pin_1
210 | modular_relay_1_pin_2
211 | modular_relay_1_pin_3
212 | modular_relay_1_pin_4
213 | modular_relay_1_pin_5
214 | modular_relay_1_pin_6
215 | modular_relay_1_pin_7
216 | modular_relay_1_pin_8
217 | modular_relay_2_pin_1
218 | modular_relay_2_pin_2
219 | modular_relay_2_pin_3
220 | modular_relay_2_pin_4
221 | modular_relay_2_pin_5
222 | modular_relay_2_pin_6
223 | modular_relay_2_pin_7
224 | modular_relay_2_pin_8
225 | modular_relay_3_pin_1
226 | modular_relay_3_pin_2
227 | modular_relay_3_pin_3
228 | modular_relay_3_pin_4
229 | modular_relay_3_pin_5
230 | modular_relay_3_pin_6
231 | modular_relay_3_pin_7
232 | modular_relay_3_pin_8
233 | modular_relay_4_pin_1
234 | modular_relay_4_pin_2
235 | modular_relay_4_pin_3
236 | modular_relay_4_pin_4
237 | modular_relay_4_pin_5
238 | modular_relay_4_pin_6
239 | modular_relay_4_pin_7
240 | modular_relay_4_pin_8
241 | modular_relay_5_pin_1
242 | modular_relay_5_pin_2
243 | modular_relay_5_pin_3
244 | modular_relay_5_pin_4
245 | modular_relay_5_pin_5
246 | modular_relay_5_pin_6
247 | modular_relay_5_pin_7
248 | modular_relay_5_pin_8
249 | modular_relay_6_pin_1
250 | modular_relay_6_pin_2
251 | modular_relay_6_pin_3
252 | modular_relay_6_pin_4
253 | modular_relay_6_pin_5
254 | modular_relay_6_pin_6
255 | modular_relay_6_pin_7
256 | modular_relay_6_pin_8
257 | modular_relay_7_pin_1
258 | modular_relay_7_pin_2
259 | modular_relay_7_pin_3
260 | modular_relay_7_pin_4
261 | modular_relay_7_pin_5
262 | modular_relay_7_pin_6
263 | modular_relay_7_pin_7
264 | modular_relay_7_pin_8
265 | modular_relay_8_pin_1
266 | modular_relay_8_pin_2
267 | modular_relay_8_pin_3
268 | modular_relay_8_pin_4
269 | modular_relay_8_pin_5
270 | modular_relay_8_pin_6
271 | modular_relay_8_pin_7
272 | modular_relay_8_pin_8
MODULAR RELAY MINI
273 | modular_relay_mini_1_pin_1
274 | modular_relay_mini_1_pin_2
275 | modular_relay_mini_1_pin_3
276 | modular_relay_mini_1_pin_4
277 | modular_relay_mini_1_pin_5
278 | modular_relay_mini_1_pin_6
279 | modular_relay_mini_2_pin_1
280 | modular_relay_mini_2_pin_2
281 | modular_relay_mini_2_pin_3
282 | modular_relay_mini_2_pin_4
283 | modular_relay_mini_2_pin_5
284 | modular_relay_mini_2_pin_6
285 | modular_relay_mini_3_pin_1
286 | modular_relay_mini_3_pin_2
287 | modular_relay_mini_3_pin_3
288 | modular_relay_mini_3_pin_4
289 | modular_relay_mini_3_pin_5
290 | modular_relay_mini_3_pin_6
291 | modular_relay_mini_4_pin_1
292 | modular_relay_mini_4_pin_2
293 | modular_relay_mini_4_pin_3
294 | modular_relay_mini_4_pin_4
295 | modular_relay_mini_4_pin_5
296 | modular_relay_mini_4_pin_6
297 | modular_relay_mini_5_pin_1
298 | modular_relay_mini_5_pin_2
299 | modular_relay_mini_5_pin_3
300 | modular_relay_mini_5_pin_4
301 | modular_relay_mini_5_pin_5
302 | modular_relay_mini_5_pin_6
303 | modular_relay_mini_6_pin_1
304 | modular_relay_mini_6_pin_2
305 | modular_relay_mini_6_pin_3
306 | modular_relay_mini_6_pin_4
307 | modular_relay_mini_6_pin_5
308 | modular_relay_mini_6_pin_6
309 | modular_relay_mini_7_pin_1
310 | modular_relay_mini_7_pin_2
311 | modular_relay_mini_7_pin_3
312 | modular_relay_mini_7_pin_4
313 | modular_relay_mini_7_pin_5
314 | modular_relay_mini_7_pin_6
315 | modular_relay_mini_8_pin_1
316 | modular_relay_mini_8_pin_2
317 | modular_relay_mini_8_pin_3
318 | modular_relay_mini_8_pin_4
319 | modular_relay_mini_8_pin_5
320 | modular_relay_mini_8_pin_6